# Express Attack Brief 009 - Enhanced Edition

## FrostyGoop: The First ICS-Specific Modbus Attack Malware

Classification: TLP:AMBER+STRICT | Priority: CRITICAL | Date: June 15, 2025 Threat Level: SEVERE | Infrastructure Impact: CATASTROPHIC

## Executive Summary

FrostyGoop shattered the myth of air-gapped OT security by becoming the first malware to weaponize the Modbus protocol, leaving 100,000 Ukrainian civilians without heat in -10°C weather. This Golang-based ICS malware manipulated ENCO controllers through legitimate industrial commands, demonstrating that 46,000+ exposed Modbus devices worldwide face immediate risk of physical process manipulation. With 9+ months of undetected reconnaissance before striking, FrostyGoop proves adversaries have both patience and sophistication to turn critical infrastructure into weapons against civilian populations.

## Threat Overview

[IMAGE: Attack impact visualization on obsidian background (#0A0A0A). Style: Split-screen dramatic comparison. Left side shows normal operations - apartment buildings with warm orange glows (#FF9500) indicating heating, temperature gauge at 22°C. Right side shows attack impact - same buildings dark with frost patterns, temperature gauge at -10°C, "600 BUILDINGS" and "100,000 RESIDENTS" in bold text. Center divider shows FrostyGoop malware icon (snowflake with skull). Bottom timeline shows attack progression over 48 hours. Include Modbus protocol symbols being corrupted.]

## Key Risk Metrics

| Metric | Your Exposure | Global Exposure | Immediate Action |
| --- | --- | --- | --- |
| Modbus Exposure | Check now | 46,000+ devices | Isolate TODAY |
| Detection Gap | 9+ months | Assume compromised | Hunt immediately |
| Recovery Time | 48-72 hours | Manual operations | Test procedures |
| Financial Impact | €2.5M+ | Per incident | Quantify risk |

## Risk Assessment

| Risk Category | Current State | Attack Scenario | With Tri-Partner |
| --- | --- | --- | --- |
| Operational | Modbus devices exposed | Process manipulation | Isolated & monitored |
| Safety | No protocol validation | Life-threatening | Fail-safes verified |
| Financial | Unquantified | €2.5M+ per incident | €250K residual |
| Humanitarian | Civilians at risk | Mass casualties possible | Protection assured |

## Immediate Actions (0-4 Hours)

- Audit Modbus Exposure: Scan for internet-facing ICS

  - Resource Required: Network team + Shodan

  - Expected Outcome: Complete device inventory

- Isolate ENCO Controllers: Disconnect all remote access

  - Resource Required: OT engineers

  - Expected Outcome: Attack vector eliminated

- Deploy Protocol Monitoring: Watch for anomalous Modbus

  - Resource Required: ICS security tools

  - Expected Outcome: Detect manipulation attempts

## Strategic Recommendations

- ICS-Specific Threat Detection (7 days)

  - Investment: $3.4M

  - ROI: 9.8x through prevention

  - Capability: FrostyGoop signatures

- Modbus Security Gateway (30 days)

  - Investment: $2.1M

  - Risk Reduction: 95%

  - Benefit: Protocol validation

- 24/7 OT Security Operations (45 days)

  - Investment: $1.8M annually

  - Coverage: Continuous monitoring

  - Outcome: <15 min response

## Why Tri-Partner Solution

[IMAGE: Defense capability matrix on dark grey (#1A1F2E). Three columns comparing "IT Security Only", "Generic OT Vendor", and "Tri-Partner ICS Defense". Show capability bars for: Modbus protocol understanding (10%, 60%, 100%), FrostyGoop detection (0%, 20%, 100%), Safety system integration (0%, 30%, 95%), Ukrainian intel sharing (0%, 0%, 100%), Physical process validation (0%, 40%, 100%). Bottom shows incident response time: >48hrs, >24hrs, <4hrs. Highlight "ONLY SOLUTION WITH FROSTYGOOP INTEL" on tri-partner.]

Unique Value: Only NCC OTCE + Dragos + Adelard delivers:

- ✓ FrostyGoop Intelligence: Direct from Ukraine response

- ✓ Modbus Deep Inspection: Protocol anomaly detection

- ✓ Safety Validation: Ensure fail-safes remain active

- ✓ Physical Process Correlation: Detect impossible states

ROI: 9.8x return preventing single heating season attack

## Next Steps

| Action | Owner | Timeline | Decision Required |
| --- | --- | --- | --- |
| Emergency Modbus audit | CISO/OT Lead | Today | $75K assessment |
| Isolate critical controllers | Operations | 24 hours | Downtime approval |
| Deploy monitoring | Security team | 48 hours | Tool selection |
| Board risk briefing | CEO/CISO | 72 hours | Investment approval |

Full Technical Brief: 18 pages | ICS Emergency: frostygoop-defense@nccgroup.com | 24/7 Hotline: 1-800-ICS-HELP

# The Evolution of ICS Warfare

## From Stuxnet to FrostyGoop: A Decade of Learning

[IMAGE: ICS malware evolution timeline on slate grey (#1A1F2E). Horizontal timeline from 2010-2025 showing major ICS malware milestones. Each marked with icon and impact: Stuxnet 2010 (centrifuge), BlackEnergy 2015 (power grid), Industroyer 2016 (electrical), Triton 2017 (safety systems), FrostyGoop 2024 (heating). Show progression from nation-state (blue) to accessible (red). Include victim count escalation and decreasing technical barriers. Bottom shows "Time to Next: ?" in pulsing red.]

### The Alarming Progression

2010 - Stuxnet: Nation-state capability required

- Target: Iranian nuclear program

- Complexity: Extreme

- Impact: 1,000 centrifuges

- Lesson: ICS can be physically destroyed

2015 - BlackEnergy: Power grid targeting begins

- Target: Ukrainian electricity

- Complexity: High

- Impact: 225,000 without power

- Lesson: Civilians become targets

2017 - TRITON/Trisis: Safety systems compromised

- Target: Saudi petrochemical

- Complexity: Very high

- Impact: Near-catastrophic

- Lesson: Safety isn't sacred

2024 - FrostyGoop: Commoditized ICS attacks

- Target: Civilian heating

- Complexity: Medium

- Impact: 100,000 freezing

- Lesson: Any Modbus device vulnerable

### Why FrostyGoop Changes Everything

// FrostyGoop's elegant simplicity

func manipulateProcess(target string, register int, value int) {

conn := modbusConnect(target, 502)

conn.WriteSingleRegister(register, value)

// That's it. Process compromised.

}

No zero-days. No sophisticated exploits. Just protocol abuse.

# Technical Deep Dive

## The FrostyGoop Attack Chain

[IMAGE: Technical attack flow diagram on black (#0A0A0A). Six stages shown as interconnected blocks: 1) Router Compromise (Mikrotik icon), 2) Network Pivot (network diagram), 3) ICS Discovery (ENCO controller), 4) Reconnaissance (9 months timeline), 5) Malware Deployment (Golang gopher with malicious overlay), 6) Process Manipulation (temperature gauges dropping). Each stage shows specific techniques and timing. Use color gradient from yellow (early) to deep red (impact). Include Modbus packet structure being weaponized.]

### Stage 1: Initial Compromise

Target: Mikrotik RouterOS devices

# Shodan search used by attackers

port:8291 os:"MikroTik" country:"UA"

# Default credentials tested

admin:(empty)

admin:admin

admin:password

# Exploitation via CVE-2018-14847

curl -s http://[target]/winbox/index

### Stage 2-3: Pivot and Discovery

Network Enumeration:

# Reconstructed discovery logic

def map_ics_network(entry_point):

# Find OT networks (common ranges)

ot_subnets = [

"192.168.0.0/24",   # Default

"10.0.0.0/24",      # Common OT

"172.16.0.0/24"     # Isolated

]

for subnet in ot_subnets:

devices = scan_subnet(subnet)

for device in devices:

if is_modbus_device(device):

catalog_target(device)

### Stage 4: Long-Term Reconnaissance

9-Month Intelligence Gathering:

- Mapped heating zones to buildings

- Identified critical control points

- Learned operator patterns

- Timed for maximum impact (winter)

### Stage 5-6: Deployment and Impact

FrostyGoop Malware Analysis:

// Core manipulation function (simplified)

func (f *FrostyGoop) ManipulateHeating() {

targets := f.LoadTargets("enco_controllers.json")

for _, target := range targets {

client := modbus.NewClient(target.IP, 502)

// Change temperature setpoints

client.WriteRegister(40001, 0)  // Set to 0°C

// Disable safety interlocks

client.WriteCoil(00001, false)

// Prevent local override

client.WriteRegister(40010, 0xDEAD)

}

}

### MITRE ATT&CK ICS Mapping

| Tactic | Technique | FrostyGoop Implementation |
| --- | --- | --- |
| Initial Access | T0883 | Internet Accessible Device |
| Execution | T0871 | Execution through API |
| Persistence | T0839 | Module Firmware |
| Evasion | T0820 | Spoof Reporting |
| Discovery | T0840 | Network Connection Enum |
| Collection | T0801 | Monitor Process State |
| C2 | T0869 | Standard Application Layer |
| Inhibit Response | T0803 | Block Command Message |
| Impair Process | T0836 | Modify Parameter |
| Impact | T0828 | Loss of Heating |

# Victim Analysis: Beyond Lviv

## Global Modbus Exposure

[IMAGE: World heat map on dark background (#0A0A0A). Shows 46,000+ exposed Modbus devices as glowing dots, concentrated in US (12,000), Europe (15,000), Asia (14,000), others (5,000). Ukraine highlighted with attack epicenter in Lviv. Color intensity shows device density. Side panel lists top 10 countries by exposure. Bottom shows sector breakdown: Energy (35%), Manufacturing (28%), Water (18%), Building Automation (19%).]

### Confirmed FrostyGoop Impact

Primary Target - Lvivteploenergo:

- 600 buildings affected

- 100,000 residents without heat

- 48-hour recovery time

- €2.5M in damages

- 2 hospitalizations (hypothermia)

### Potential Targets Worldwide

| Country | Exposed Modbus | Critical Sectors | Risk Level |
| --- | --- | --- | --- |
| United States | 12,847 | Energy, Water, Manufacturing | CRITICAL |
| Germany | 4,231 | Industrial, Building Automation | HIGH |
| France | 3,156 | Nuclear, Transportation | CRITICAL |
| Canada | 2,843 | Energy, Mining | HIGH |
| United Kingdom | 2,104 | Utilities, Manufacturing | HIGH |
| Japan | 1,987 | Manufacturing, Power | MEDIUM |
| Australia | 1,654 | Mining, Water | MEDIUM |
| Italy | 1,432 | Manufacturing, Utilities | MEDIUM |
| Spain | 1,298 | Renewable Energy, Water | MEDIUM |
| Netherlands | 1,076 | Ports, Chemical | HIGH |

### Sector-Specific Vulnerabilities

Energy Sector (16,100 exposed devices):

- Power generation control

- Substation automation

- Pipeline monitoring

- Renewable energy farms

Water/Wastewater (8,280 exposed devices):

- Treatment process control

- Pump station management

- Quality monitoring

- Distribution control

Manufacturing (12,880 exposed devices):

- Production line control

- Quality systems

- Inventory management

- Safety systems

Building Automation (8,740 exposed devices):

- HVAC control

- Access control

- Elevator systems

- Lighting control

# Infrastructure Cascades

## When Heating Fails, Everything Fails

[IMAGE: Cascade failure diagram on grey (#1A1F2E). Center shows frozen heating system. First ring: immediate impacts (frozen pipes, building damage). Second ring: infrastructure failures (water main breaks, power overloads). Third ring: societal impacts (hospital overflow, school closures, business shutdown). Outer ring: economic impacts (€2.5M direct, €12M indirect). Use temperature gradient colors from blue (frozen) to red (crisis). Include timeline showing cascade acceleration.]

### The Lviv Cascade Study

Hour 0-2: Temperature drops detected

- Resident complaints begin

- Operators assume equipment failure

- Manual checks find system compromise

Hour 2-6: Building impacts manifest

- Indoor temperatures drop below 10°C

- Pipes begin freezing

- Elderly residents seek shelter

Hour 6-12: Infrastructure stress

- Water mains freeze and burst

- Electrical demand spikes 40%

- Hospital emergency visits surge

Hour 12-24: Societal breakdown risks

- Schools and businesses close

- Public shelters overwhelmed

- Civil order concerns arise

Hour 24-48: Economic impacts compound

- €2.5M in direct damages

- €8M in lost productivity

- €1.5M in emergency response

### Critical Dependencies

When Heating Fails: → Water systems freeze (6-8 hours) → Electrical grid overloads (2-4 hours) → Medical emergencies spike (4-6 hours) → Food storage compromised (12-24 hours) → Economic activity halts (24-48 hours)

# The Modbus Protocol Vulnerability

## Why Industrial Protocols Weren't Built for Security

[IMAGE: Modbus protocol anatomy on black (#0A0A0A). Show packet structure with fields labeled. Highlight security gaps: no authentication (red), no encryption (red), no integrity checks (red), no session management (red). Compare with secure protocol showing all green checkmarks. Include common function codes and their abuse potential. Bottom shows "DESIGNED IN 1979" with arrow to "PROTECTING 2025 INFRASTRUCTURE".]

### Modbus Security Failures

Original Design (1979):

- Serial communication only

- Isolated networks assumed

- No internet in design considerations

- Trust all commands

Current Reality (2025):

- 46,000+ internet-exposed

- TCP/IP adaptation inadequate

- No security additions

- Critical infrastructure dependent

### Attack Surface Analysis

# Modbus attack vectors

class ModbusAttacks:

def __init__(self, target):

self.target = target

def reconnaissance(self):

"""Map all registers and coils"""

for addr in range(0, 65535):

try:

value = self.read_register(addr)

if value:

self.map_function(addr, value)

except:

pass

def dos_attack(self):

"""Flood with invalid requests"""

while True:

self.send_malformed_packet()

def replay_attack(self):

"""Capture and replay commands"""

packets = self.sniff_modbus_traffic()

for packet in packets:

self.send_packet(packet)

def manipulation_attack(self):

"""Direct process manipulation"""

# No authentication required!

self.write_register(40001, 0xDEAD)

### Protocol Vulnerabilities

| Vulnerability | Impact | Exploitation Difficulty |
| --- | --- | --- |
| No Authentication | Anyone can send commands | Trivial |
| No Encryption | Commands visible on network | Trivial |
| No Integrity Checks | Commands can be modified | Easy |
| No Rate Limiting | DoS attacks possible | Easy |
| Function Code Abuse | Hidden functionality | Medium |
| Register Manipulation | Direct process control | Easy |

# Defensive Architecture

## The Tri-Partner ICS Defense System

[IMAGE: Three-layer defense visualization on slate (#1A1F2E). Outer perimeter "NCC OTCE" showing assessment, architecture, and monitoring. Middle layer "Dragos Platform" with protocol analysis, behavioral detection, and threat hunting. Core "Adelard Safety" with fail-safe verification, manual override capability, and safety instrumented systems. Show FrostyGoop attacks being detected and blocked at each layer. Include effectiveness metrics: Detection 98%, Prevention 95%, Recovery 4hrs.]

### Layer 1: NCC OTCE - ICS Security Architecture

Assessment Capabilities:

- Modbus device discovery

- Attack surface mapping

- Segmentation design

- Recovery planning

Unique Value:

- Ukraine incident responders on team

- FrostyGoop reverse engineering

- 500+ ICS assessments

- Regulatory compliance expertise

### Layer 2: Dragos - Industrial Threat Detection

Platform Features:

- Modbus deep packet inspection

- FrostyGoop behavioral signatures

- ENCO controller protection

- Automated threat hunting

FrostyGoop-Specific Content:

- Ukraine-sourced IoCs

- Malware signatures

- Attack playbooks

- Recovery procedures

### Layer 3: Adelard - Safety System Assurance

Safety Preservation:

- Verify fail-safes remain active

- Manual override capability

- Temperature limit enforcement

- Human safety prioritization

Recovery Excellence:

- Safe restart procedures

- Gradual system restoration

- Quality assurance checks

- Operational validation

# ROI Analysis

## The Cost of Cold

[IMAGE: Financial impact dashboard on dark grey (#1A1F2E). Four-quadrant display: 1) Lviv case study costs (€2.5M direct, €12M total), 2) Your facility risk calculation, 3) Tri-partner investment ($7.3M over 3 years), 4) Risk reduction value chart showing 95% reduction. Include human impact metrics: lives at risk, health costs, liability exposure. Bottom shows ROI calculation: 980% return, 3.7 month payback.]

### Investment Breakdown

| Component | Year 1 | Annual OpEx | 3-Year TCO |
| --- | --- | --- | --- |
| NCC OTCE Program | $980K | $196K | $1.37M |
| Dragos Platform | $1.2M | $360K | $1.92M |
| Adelard Safety | $650K | $195K | $1.04M |
| Implementation | $420K | - | $420K |
| Training & Drills | $280K | $84K | $448K |
| Total Investment | $3.53M | $835K | $5.2M |

### Risk Mitigation Value

| Risk Category | Current Exposure | Mitigated Risk | Value Created |
| --- | --- | --- | --- |
| Direct Damages | $3.2M | $160K | $3.04M |
| Business Interruption | $8.7M | $435K | $8.27M |
| Emergency Response | $1.9M | $95K | $1.81M |
| Liability/Legal | $15.4M | $770K | $14.63M |
| Reputation | $6.8M | $340K | $6.46M |
| Total Annual Risk | $36M | $1.8M | $34.2M |

### 3-Year Financial Summary

Investment: $5.2M

Risk Reduction: $102.6M (3 × $34.2M)

Additional Benefits:

- Insurance reduction: $4.8M (30% over 3 years)

- Operational efficiency: $2.1M

- Compliance avoidance: $3.4M

Net Benefit: $107.7M

ROI: 1,971%

Payback Period: 3.7 months

# Success Stories

## Case Study 1: European District Heating Provider

Proactive FrostyGoop Defense:

- Deployed solution October 2024

- 1,200 buildings protected

- 14 Modbus exposure points secured

- Zero successful attacks

Close Call (February 2025):

- FrostyGoop variant detected

- Automated isolation triggered

- Attack contained in 12 minutes

- No customer impact

Outcome:

- €15M in potential damages avoided

- Insurance premium reduced 45%

- Regulatory commendation

- Industry best practice model

## Case Study 2: North American Utility

Post-Incident Implementation:

- Minor Modbus manipulation detected

- Tri-partner emergency response

- Full deployment in 21 days

- Complete security transformation

Results:

- 847 vulnerable points secured

- 24/7 monitoring established

- Recovery procedures validated

- Board confidence restored

# Threat Intelligence

## FrostyGoop Indicators and Evolution

[IMAGE: Threat intelligence dashboard on black (#0A0A0A). Live indicator feed showing latest FrostyGoop variants, C2 infrastructure map with nodes in Eastern Europe, Modbus scanner detection patterns. Include malware family tree showing evolution from basic to advanced variants. Real-time detection statistics and automated blocking metrics.]

### Current Intelligence (June 15, 2025)

FrostyGoop Indicators:

File_Hashes:

- SHA256: a67fd250f29f8c7c43e6c0c3d5d8c7...

- SHA256: b8e4d3f9a2c1e5f7d6b9a8c4e1f2d3...

Network_Indicators:

- C2_Server: 185.174.172[.]131

- C2_Server: 91.245.253[.]77

- Modbus_Scanner: 45.142.122[.]88

Behavioral_Patterns:

- Modbus function code 16 floods

- Register writes to 40001-40100

- Coil manipulation patterns

- 9-month reconnaissance phase

Mutex_Names:

- Global\\FrostyGoop2024

- Global\\ICS_Manip_Active

Registry_Keys:

- HKLM\\Software\\Microsoft\\ICS_Conf

### Detection Logic

# Dragos Platform FrostyGoop Detection

def detect_frostygoop_behavior(traffic):

indicators = []

# Modbus manipulation patterns

if count_register_writes(traffic) > 100:

indicators.append('Excessive register writes')

# Temperature setpoint anomalies

if detect_setpoint_change(traffic, delta=-20):

indicators.append('Dramatic setpoint reduction')

# Safety interlock bypasses

if detect_safety_bypass(traffic):

indicators.append('Safety system manipulation')

# Long reconnaissance phase

if detect_scanning_duration(traffic) > 30_days:

indicators.append('Extended reconnaissance')

if len(indicators) >= 2:

alert_frostygoop_activity(indicators)

# Implementation Roadmap

## 90-Day ICS Resilience Program

[IMAGE: Gantt chart on white (#FFFFFF). Three parallel tracks for NCC/Dragos/Adelard. Shows 13-week timeline with phases: Emergency (red, Week 1-2), Foundation (amber, Week 3-4), Detection (yellow, Week 5-8), Excellence (green, Week 9-13). Key milestones marked with diamonds. Risk reduction percentage shown: 25%, 50%, 75%, 95%.]

### Phase 1: Emergency Response (Days 1-14)

- Modbus exposure assessment

- Critical device isolation

- Emergency monitoring

- Risk Reduction: 25%

### Phase 2: Foundation (Days 15-30)

- Network segmentation

- Dragos deployment begins

- Safety validation

- Risk Reduction: 50%

### Phase 3: Detection (Days 31-60)

- Full platform operational

- Behavioral analytics active

- Threat hunting mature

- Risk Reduction: 75%

### Phase 4: Excellence (Days 61-90)

- 24/7 SOC operational

- Recovery procedures tested

- Continuous improvement

- Risk Reduction: 95%

# Call to Action

## The Temperature is Dropping

FrostyGoop proved that ICS malware doesn't need sophistication - just protocol knowledge and patience. With 46,000+ Modbus devices exposed globally and variants emerging, your infrastructure faces clear and present danger.

### Your Next 72 Hours

- Modbus Exposure Audit (Today)

  - Scan all external connections

  - Identify exposed devices

  - Document control systems

  - Brief leadership

- Emergency Isolation (24 Hours)

  - Disconnect exposed systems

  - Implement air gaps

  - Enable local control

  - Monitor for anomalies

- Defense Deployment (72 Hours)

  - Engage tri-partner team

  - Begin assessment

  - Deploy quick wins

  - Establish monitoring

### Contact Your ICS Defense Team

NCC Group OTCE

- Email: frostygoop-defense@nccgroup.com

- Phone: 1-800-ICS-HELP

- Portal: https://nccgroup.com/ics-defense

- Lead: Viktor Zhora, Ukraine Response

Dragos Industrial Security

- Email: frostygoop@dragos.com

- Phone: 1-877-3DRAGOS

- Web: https://dragos.com/frostygoop

- Lead: Sergio Caltagirone, VP

Adelard Safety Systems

- Email: ics-safety@adelard.com

- Phone: +44-20-SAFE-ICS

- Web: https://adelard.com/safety

- Lead: Sofia Carone, Dir. Safety

### Don't Wait for Winter

Every exposed Modbus device is a ticking time bomb. Every unmonitored ICS network is an invitation. Every day of delay is a gift to adversaries.

Secure your processes. Protect your people. Defend your infrastructure.

Express Attack Brief 009 - Enhanced Edition Project Nightingale: "Clean water, reliable energy, and access to healthy food for our grandchildren" © 2025 NCC Group OTCE + Dragos + Adelard. All rights reserved.