## Technical Qualification Requirements

1. **OT/IT Security Expertise**: Demonstrated experience in both operational technology and information technology security specific to renewable energy systems, particularly with solar inverters, wind turbine controllers, and battery management systems.

2. **Critical Infrastructure Protection Experience**: Documented experience protecting critical energy infrastructure, including renewable generation assets connected to the grid.

3. **Sector-Specific Certifications**: Professional certifications relevant to energy sector security, including CISSP, GIAC ICS Security Specialist, and Certified SCADA Security Architect credentials for key personnel.

4. **Non-Disruptive Testing Methodologies**: Proven methodologies for conducting security assessments without disrupting the operation of revenue-generating renewable assets.

5. **Remote Asset Security Capabilities**: Expertise securing widely distributed renewable assets that often operate in remote locations with minimal physical security.

## Regulatory Compliance Requirements

6. **NERC CIP Compliance**: Demonstrated understanding of North American Electric Reliability Corporation Critical Infrastructure Protection standards as they apply to renewable generation.

7. **IEC 62443 Implementation Experience**: Familiarity with the Industrial Automation and Control Systems Security standard increasingly required in renewable energy RFPs.

8. **Regional Energy Regulation Knowledge**: Understanding of jurisdiction-specific energy sector regulations such as NYSERDA requirements for offshore wind or CAISO security requirements for grid-connected resources.

9. **Supply Chain Security Compliance**: Capabilities that address Executive Order 14028 requirements for securing the software supply chain in critical infrastructure.

## Project-Specific Qualification Criteria

10. **Technology-Specific Experience**: Prior work with the specific renewable technologies being deployed (fixed solar, tracking solar, onshore wind, offshore wind, battery storage technologies).

11. **Scale-Appropriate Solutions**: Experience securing renewable assets at a similar scale to the project being bid, from utility-scale installations to distributed energy resources.

12. **Reference Projects**: Completed security assessments or implementations for similar renewable projects, with verifiable references.

13. **Vendor-Specific Platform Knowledge**: Familiarity with specific control systems used by major renewable equipment manufacturers (e.g., GE, Siemens, Vestas wind platforms or SMA, Fronius, SolarEdge solar platforms).

## Commercial and Contractual Considerations

14. **Competitive Pricing Structure**: Clear, competitive pricing aligned with project budgets typically allocated for cybersecurity (generally 2-5% of total technology costs).

15. **Project Timeline Alignment**: Ability to align security assessment and implementation timelines with broader project development schedules.

16. **Service Level Agreements**: Defined SLAs appropriate for operational renewable assets, including rapid response requirements for security incidents.

17. **Scalable Engagement Models**: Flexible service delivery models that can adapt as renewable projects move from development through construction to operations.

## Solution Approach Requirements

18. **Secure-by-Design Methodologies**: Approaches that integrate security from the design phase rather than retrofitting security after deployment.

19. **Renewable-Specific Threat Models**: Customized threat modeling frameworks that address risks specific to renewable generation technologies.

20. **Monitoring Solutions for Remote Assets**: Security monitoring capabilities designed for distributed renewable assets in remote locations with limited connectivity.

21. **Incident Response for OT Environments**: Specialized incident response procedures that address the unique requirements of operational technology in renewable energy facilities.

22. **Security Integration with Energy Management Systems**: Ability to integrate security controls with the energy management systems used to operate renewable assets.